## Table 1
Project Sponsors listed here are eligbile to be recipients of SRF funding assistance in State Fiscal Year 2016. Final funding decisions for each project will depend on a satisfactory review of the project sponsor's technical and managerial capacity, a completed environmental review of the proposed project, issuance of a DHEC SRF construction permit, and successful credit review by the Rural Infrastructure Authority - Office of Local Government.
FY16 | Sponsor & Project | DHEC Project Number | Project Description | NPDES Number(s) Associated with Project | Total Project Cost Estimate | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance 1 | Estimated Green Project Reserve Amount 2 | Total Points
1 | Laurens County WSC North Creek Lift Station Rehabilitation | 540-11 | Replace existing pumps, valves, and interior piping of lift station. Replace pump motor and level controls. Add standby power generator. Rehab existing concrete wetwell and drywell. | SC0037974 | 750000 |  | 272400 |  | 60
2 | Pendleton, Town of Main Line Sewer Upgrades | 472-08 | Replace ~6,500 linear feet of 60-year old 10" clay sewer main and associated brick manholes with 18" PVC pipe and precast concrete manholes to reduce sanitary sewer overflows. | SC0035700 | 865000 |  | 865000 |  | 60
3 | Florence, City of Timmonsville Sewer System Improvements -Phase 2 | 378-23 | Continued collection system rehabilitation to assist takeover and complete WWTP rehabilitation/upgrade to include lagoon liner replacements, disposal of WWTP primary lagoon solids, rebuild influent pumps, headworks improvements and SCADA improvements. | SC0025356 | 4000000 | 4000000 |  |  | 50
4 | Florence, City of Timmonsville Sewer Collection System Rehabilitation | 378-25 | Rehabilitation of wastewater lines identified to be in need of repair to assist in the takeover of the Town of Timmonsville collection system. | SC0025356 | 1687000 | 687000 | 1000000 |  | 50
4 | Richland County Utilities Gadsden Elementary Pump Station and Force Main | 574-24 | Construction of a duplex pump station and installation of 12,500 LF of 6" forcemain to eliminate a treatment facility under DHEC Consent Order for failure to meet NPDES permit limits for ammonia. | SC0031526 | 791900 |  | 423000 |  | 50
6 | East Richland County Public Service District New 64-inch Interceptor Sewer | 524-26 | Installation of a new 64-inch interceptor to replace aging parallel 54-inch and 42-inch interceptors. | SC0038865 | 3500000 | 3500000 |  |  | 50
7 | Lancaster, City of Erwin Farms Sewer Basin Rehabilitation | 497-18 | Sewer rehab of ~50,000 LF of gravity sewer through CIPP lining, point repair, sewer line enhancements, manhole lining and service lateral lining. | SC0046892 | 8000000 | 7000000 | 1000000 |  | 40
8 | Winnsboro, Town of McCulley Creek Sewer Rehabilitation Project | 326-01 | Replace ~5,000 linear feet of existing 8" gravity sewer with 10" or 12" pipe and modify existing sludge handling system at the Water Treatment Plant to reduce sanitary sewer overflows into McCully Creek. | WTP - SCG646041; WWTP - SC0020125 | 888000 |  | 325000 |  | 40
9 | James Island PSD Pump Station 11 Ph 2 - Force Main Upgrade/Replacement | 543-13 | Installation of new 24" HDPE force main to replace 2 aging and rupture prone 14" DIP and PVC force mains. | SC0021299 | 1735442 | 1735442 |  |  | 30
10 | GSWSA Force Main from Pee Dee to City of Marion | 381-74 | Installation of s sewer pump station and 12" force main to serve an industrial site. | SC0046230 | 3600000 | 3600000 |  |  | 30
FY16 | Sponsor & Project | DHEC Project Number | Project Description | NPDES Number(s) Associated with Project | Total Project Cost Estimate | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance 1 | Estimated Green Project Reserve Amount 2 | Total Points
11 | Camden, City of Gravity Sewer Main Rehabilitation - Camden Truck Route | 433-04 | Rehabilitate ~4,600 LF of sewer mains, 8 manholes and service laterals to reduce inflow and infiltration. | SC0021032 | 1361030 | 356090 |  |  | 20
12 | Mount Pleasant, Town of Snee Farm Stormwater Rehabilitation Project | 511-40 | Survey and design stormwater rehabilitation work; replace and improve lake outfall structure; rehabilitate/replace drainage pipe for flood mitigation; restore/stabilize primary drainage canals; clean, inspect, rehabilitate/replace drainage pipe. | SCR031906 | 8481083 | 8481083 |  |  | 20
13 | BJWSA Hardeeville WWTP Upgrade and Expansion | 520-29 | Upgrade the Hardeeville Wastewater Treatment Plant to comply with the new Savannah River TMDL to be accomplished by upgrading the plant's secondary treatment process by adding a new headworks, and additional oxidation ditch with anoxic basin. | SC0034584 | 19700000 | 19700000 |  |  | 20
14 | Aiken County Horse Creek Pollution Control Facility Improvements | 321-30 | Upgrade the Horse Creek Pollution Control Facility to meet NPDES limits for BOD and ammonia through improvements to pump stations 1 & 3, flow equalization, influent screens/grit chambers, aeration basins, chlorination system, sludge holding tank and dewatering. | SC0024457 | 25000000 | 25000000 |  |  | 20
15 | Pamplico, Town of Wastewater Treatment Plant Upgrade and Expansion | 564-01 | Upgrade the WWTP by adding another Sequencing Batch Reactor and appurtenances and change the current UV disinfection system to a chlorine contact chamber to improve effluent processing to address to allow the WWTP to meet NPDES limits. | SC0021351 | 1084000 |  | 430100 |  | 20
16 | Re-Wa Mauldin Road FOG and Septage Handling Enhancements | 370-68 | Construction receiving facility for fats, oils, grease (FOG) and septage to allow for separation of FOG to increase digester gas production and provide holding/isolation to prevent possible contamination of the biosolids product due to any illegal discharges by haulers. | SC0041211 | 4500000 | 4100000 |  |  | 20
17 | Camden, City of Sewer System Rehabilitation 2015 | 433-03 | Assess and rehabilitate ~19,200 LF of aging sewer line. | SC0021032 | 5825500 | 5825500 |  |  | 10
18 | Chapin, Town of WWTP Expansion and Upgrade | 732-01 | Construct a 2.4 MGD wastewater treatment plant to replace the current 1.2 MGD lagoon system and provide treatment able to meet NPDES limits. | SC0040631 | 12000000 | 10000000 |  |  | 0
19 | Kershaw County Chlorine Chamber Improvements & Lab/Admin Building Addition | 587-06 | Install pumping system and piping for cleaning and dewatering of chlorine contact chamber. Also, construction of a new lab/administration building. | SC0039870 | 555000 | 555000 |  |  | 0
|  |  | Total |  | 104323955 | 94540115 | 4315500 | $ -
|  |  | SFY 2016 Total of SRF Loan + Principal Forgiveness Amounts |  |  | 98855615
1 Principal forgiveness funds are subject to change and are only available if the FY15 CWSRF Capitalization Grant is awarded by EPA and accepted by DHEC. 2 GPR projects are classified as "c" for categorical" or "bc" for business case.