## Table 1
| Sponsor & Project | SRF Project Number | Project Description | NPDES Permit Number | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance1 | Estimated Green Project Reserve Amount2 | Total Points
New Projects
1 | Berea Public Service District Sanitary Sewer Rehabilitation Program- Phase 2 | 735-02 | Repair and rehabilitate 8" sewer lines through point repairs and cured-in-place pipe, and repair and apply cementitious lining to hundreds of manholes to address numerous issues that have contributed to varying degrees of infiltration and inflow throughout the collection system. |  | 2400000 | 2400000 |  |  | 70
2 | Sumter, City of Town of Mayesville WWTP Connection | 442-33 | Eliminate the Mayesville WWTP along with a pump station and force main to connect the Mayesville collection system to the City of Sumter' collection system. | ND0069787 | 1505000 | 755000 |  |  | 60
3 | Richland County Utilities Gadsden Elementary Pump Station and Force Main | 574-24 | Construction of a duplex pump station and installation of 12,500 LF of 6" forcemain to eliminate a treatment facility under DHEC Consent Order for failure to meet NPDES permit limits for ammonia. | SC0031526 | 791900 |  | 423000 |  | 50
4 | Anderson County 5 Mile Interceptor, Phase III | 724-03 | Third and final phase of replacement of aging interceptor - to include installation of ~12,950 LF of 18", 24" or 30" ductile iron pipe and polymer concrete manholes, with subsequent abandonment of existing interceptor in place. |  | 7178800 | 7178800 |  |  | 50
5 | ReWa Saluda 4 Pump Station Elimination | 370-81 | Replace Saluda 4 PS with gravity sewer |  | 1300000 | 1300000 |  |  | 50
6 | ReWa Saluda Lake Pump Station 2 & 3 Upgrade | 370-79 | Upgrade existing 40 year old pump stations at high risk for failure. |  | 3000000 | 3000000 |  |  | 50
7 | ReWa State Park Road Pump Station Elimination | 370-90 | Replace State Park Road PS with gravity sewer |  | 550000 | 550000 |  |  | 40
8 | Lyman, Town of Startex Sewer Main Rehabilitation | 462-09 | Rehabilitation of the 60-90-year old collection system in the Startex Mill Village (~7319 linear feed of 8-inch sewer main and line and ~210 manholes). The Town of Lyman is currently the court-appointed receiver of the Startex system. | SC0021300 | 973000 |  | 973000 |  | 40
9 | ReWa FY18 Gravity Sewer & Manhole Rehabilitation | 370-97 | Lining existing sewers with Cured in Place Piping & lining of existing manholes with cementitious material to reduce the potential for wet weather sanitary sewer overflows resulting from inflow and infiltration and limit exfiltration into the environment. |  | 5000000 | 5000000 |  |  | 40
10 | ReWa Mauldin Rd WWRF Wet Weather Flow Pump Station Upgrade | 370-75 | Assessment and rehabilitation of existing pump station at the Mauldin Road WRRF |  | 2900000 | 2900000 |  |  | 40
11 | Rock Hill, City of Manchester Creek Wastewater Treatment Plant Upgrades and Expansion - Phase 1 | 393-32 | Phase 1 of upgrades to improve plant performance and efficiencies, implement additional nutrient removal and to construct additional treatment capacity at the Manchester Creek WWTP. | SC0020443 | 54700000 | 54700000 |  |  | 40
| Sponsor & Project | SRF Project Number | Project Description | NPDES Permit Number | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance1 | Estimated Green Project Reserve Amount2 | Total Points
12 | Myrtle Beach, City of Upgrades to the Bear Branch Pump Station | 494-17 | Replace 34 year old pump station to include replacing pumps, coating the wetwell and horizontal storage, addition of control manholes, new controls and safety equipment | SC0039039 | 1159765 | 1159765 |  |  | 30
13 | ReWa Mayberry Park Sewer Upgrade | 370-98 | Replacement of a 20-inch sewer with a 36-inch sewer to address hydraulic issues and reduce the potential for sanitary sewer overflows. |  | 2800000 | 2800000 |  |  | 30
14 | ReWa Rock Creek Interceptor | 370-99 | Replacement of a 24-inch sewer with a 36-inch sewer to address hydraulic issues and reduce the potential for sanitary sewer overflows. |  | 11069000 | 11069000 |  |  | 30
15 | Clemson, City of Cochran Road WWTP Upgrade and Expansion | 267-03 | Upgrade and expand the existing Cochran Road WWTP to maintain compliance with permitted limits. | SC0020010 | 13990000 | 13990000 |  |  | 30
16 | Georgetown, City of West End Sewer Rehabilitation | 412-15 | Rehabilitation of ~40,000 LF of aging gravity sewer lines in the City's West End. Project will reduce infiltration and inflow of rainwater and reduce the potential for sewer backups and overflows | SC0040029 | 3422850 | 3172850 |  |  | 20
17 | ReWa Gilder Creek WRRF Secondary Clarifier and RAS PS Rehabilitation | 370-91 | Demolition and replacement of an existing RAS building and demolition and replacement of two existing secondary clarifier mechanisms. | SC0040525 | 3500000 | 3500000 |  |  | 20
18 | ReWa Lower Reedy Digester Capacity Evaluation and Improvements | 370-84 | Assessment of existing anaerobic digester system, evaluate alternatives for reliability improvement and install the selected alternative. | SC0024261 | 12000000 | 12000000 |  |  | 20
19 | Aiken, City of Critical Stormwater Rehabilitation - Phase 1 | 549-07 | Repair or replace aging stormwater ponds and conveyance pipes using conventional construction and trenchless technology. | SCR030301 | 2548125 | 2548125 |  |  | 20
20 | Richland County Cedar Cove and Stoney Point Sanitary Sewer Upgrades | 574-25 | Installation of gravity sewer to replace the low pressure sewer system in the Cedar Cove and Stoney Point Subdivisions. | SC0046621 | 2500000 | 2500000 |  |  | 20
21 | James Island PSD Fort Johnson and Dills Bluff Trunk Sewer CIPP Lining and Manhole Lining | 543-14 | Assess and rehabilitate, by lining or point repair, 3100 LF of 21" gravity trunk sewer line and 8 manholes to address aging infrastructure with a history of joint failure and to reduce infiltration and inflow. | SC0021299 | 722093 | 722093 |  |  | 10
22 | Myrtle Beach, City of Upgrades to the Briarcliff Mall Pump Station | 494-18 | Replace 39 year old pump station to include replacing pumps, install new wetwell, addition of control manhole, new controls and safety equipment. | SC0039039 | 687380 | 687380 |  |  | 10
23 | Myrtle Beach, City of Upgrades to the Dunes Club #1 Pump Station | 494-19 | Replace 48 year old pump station to include replacing pumps, new wet well, rehab existing wetwell into a collective handler and new piping valves. | SC0039039 | 641795 | 641795 |  |  | 10
24 | Myrtle Beach, City of Upgrades to the Dunes Club #2 Pump Station | 494-20 | Replace 43 year old pump station by constructing a duplex submersible pump station. | SC0039039 | 605230 | 605230 |  |  | 10
| Sponsor & Project | SRF Project Number | Project Description | NPDES Permit Number | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance1 | Estimated Green Project Reserve Amount2 | Total Points
25 | Myrtle Beach, City of Upgrades to the Myrtle Manor Pump Station | 494-21 | Replace 39 year old pump station to include replacing pumps, install new wetwell, addition of control manhole, new controls and safety equipment | SC0039039 | 726260 | 726260 |  |  | 10
26 | Myrtle Beach, City of Upgrades to the Northwoods Pump Station | 494-22 | Replace 38 year old pump station to include replacing pumps, reline wetwell, addition of control manhole, new controls and safety equipment. | SC0039039 | 732750 | 732750 |  |  | 10
27 | Myrtle Beach, City of Upgrades to the Forest Pump Station | 494-23 | Replace 42 year old pump station to include replacing pumps, new wetwell lining horizontal storage, convert existing wetwell into a collection manhole, new controls and safety equipment. | SC0039039 | 840920 | 840920 |  |  | 10
28 | James Island PSD Pump Station 2 Diversion Force Main | 543-15 | Installation of ~9450 linear feet of 14" and 16" force main to replace existing pipes that are in poor condition and have the potential to fail. To be constructed in two phases - Phase 1 ~3500 LF & Phase 2 ~5950 LF. | SC0021229 | 6000000 | 6000000 |  |  | 10
29 | Hilton Head Biosolids Dewatering Improvement | 509-06 | Install biosolids dewatering equipment (centrifuge and supplemental equipment) to replace existing equipment at the end of its useful life. | SC0046191 ND0068462 | 1660000 | 1660000 |  |  | 10
30 | GSWSA Longs WWTP Upgrade to 0.95 MGD | 381-75 | Upgrade WWTP from .2MGD to .95 MGD by adding additional complete mix and partial mix lined lagoons, intermittent sand filters, headworks structure, UV disinfection and effluent pump station. | SC0040878 | 11400000 | 11400000 |  |  | 0
31 | Kershaw, Town of WWTP Improvements | 595-01 | Repair and replacement of various components of the sequential batch reactors to maintain current treatment capacity and prepare for future plant expansion. | SC0025798 | 860000 | 780000 |  |  | 0
32 | Dillon, Town of Highway 9 Force Main Relocation | 424-08 | Relocation of 2 parallel 18" force mains due to DOT bridge replacement. | SC0021776 | 1399000 | 1399000 |  |  | 0
|  |  | Totals: New Projects |  | 159563868 | 156718968 | 1396000
Continuing Projects3
1 | Union, City of Regional Wastewater Facility along Hwy. 176 Corridor | 373-02 | This project will eliminate the Town of Jonesville WWTP and transfer the Wastewater to the City of Union Tosch's Creek WWTP. |  | 6055000 | 6055000 |  |  | 80
2 | GSWSA South Wastewater Transmission System Upgrade | 381-77 | Installation of ~35,500 LF of force main to interconnect sections of the sewer system to address reliability and redundancy in handling sewer flows. A pump station will be constructed at the headworks of the Schwartz WWTP to intercept the influent flows from the multiple force mains. | SC0037753 | 10000000 | 10000000 |  |  | 70
3 | Rock Hill, City of Stormwater Improvements - Cavendale Drive and College Downs | 393-29 | Replace existing under-road culvert and restore the channel of a feeder stream to Wildcat Creek to address flooding that occurs during a 10-year rain event. Alleviate flooding in the College Downs area through stream restoration and/or enhancements using natural stream design techniques and possible improvements of the flood plain corridor. |  | 4000000 | 4000000 |  |  | 50
| Sponsor & Project | SRF Project Number | Project Description | NPDES Permit Number | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance1 | Estimated Green Project Reserve Amount2 | Total Points
4 | Easley Combined Utilities Alice Mill Sewer Improvements | 711-06 | Install ~17,700 linear feet of 8" PVC sewer line, 87 manholes and new service laterals to 225 residences to replace an aging sewer collection system that is poorly sited and subject to failure. |  | 5000000 | 5000000 |  |  | 40
5 | Bamberg Board of Public Works New Bridge Sewer Rehabilitation | 278-01 | Installation of new sewer line to replace existing poorly sited sewer line. Rehabilitation of existing sewer lines in the area as determined by CCTV inspection. | ND0063398 | 2277600 | 2277600 |  |  | 20
|  |  | Totals: Continuing Projects |  | 27332600 | 27332600
|  |  | Totals: New Projects |  | 159563868 | 156718968 | 1396000
|  |  | SFY 2018 Total of SRF Loan + Principal Forgiveness Loan Amount |  |  | 185447568
* Projects that appear on the Provisional Project List are ranked based on priority for funding. However a loan offer is dependent on the financial capacity of the sponsor, which may not have been evaluated to date.
1 Principal forgiveness funds are subject to change and are only available if the FY17 CWSRF Capitalization Grant is awarded by EPA and accepted by DHEC. Project listing is not a commitment of funding.
2 FY17 federal appropriations require that to the extent there are eligible projects, the CWSRF identify GPR eligible projects or parts of projects in an amount equal to at least 10% of the expected capitalization grant amount, or $1,358,300, as GPR eligible (see Section IX.C. of the CWSRF IUP). Projects on this Provisional Project List have not submitted documentation, but may qualify in whole or in part for the GPR. If any projects are identified as GPR eligible the project or portion of the project will be reported in the CWSRF SFY18 Annual Report.
3 SFY17 projects that are not expected to have a complete CWSRF application by July 31, 2017.