## Table 1
|  | Sponsor & Project Name |  | SRF Project Number |  | Project Description |  | NPDES Permit Number |  | Estimated Total Project Cost |  | Estimated SRF Loan Amount6 |  | Estimated Principal Forgiveness Assistance2 |  | Estimated Green Project Reserve Amount3 |  | Total Points
1 |  | Abbeville, City of - Long Branch Sewer Rehabilitation4 |  | 728-05 |  | Conduct a Sanitary Sewer Evaluation Survey ("SSES") on the entire Long Branch Basin and prepare a Preliminary Engineering Report ("PER") to prioritize current and future improvements. |  | SC0040614 |  | 353000 |  | $ - |  | 353000 |  |  |  | 50
2 |  | Renewable Water Resources - FY22 Trunk Sewer Rehabilitation4 |  | 370-111 |  | Lining approximately 13,000 linear feet of existing trunk sewers (18 inches and greater) with cured in place piping (CIPP) and lining of existing manholes with cementitious material. |  | ND |  | 6280044 |  | 6280044 |  | $ - |  |  |  | 110
3 |  | Renewable Water Resources - 2023 Gravity Sewer & Manhole Rehab |  | 370-125 |  | Project to line exsiting sewers with CIPP and line manholes with cementious material. |  | SC0033804, SC0026883, SC0047309, SC0023906 |  | 4750000 |  | 4750000 |  | $ - |  |  |  | 110
4 |  | Easley Combined Utilities - Georges Creek Trunk Sewer |  | 711-07 |  | The project consists of the installation of approximately 7,370 linear feet of new 30-inch gravity sewer, 9,080 linear feet of new 24-inch gravity sewer, 72 manholes, and all necessary appurtenances to complete the piping installation. |  | SC0023043, SC0047309 |  | 9202000 |  | 8380000 |  | $ - |  |  |  | 100
6 |  | Clinton, City of - New PS and Force Main for Stone Creek Development and Florida St. PS Replacement |  | 473-05 |  | Project includes a new PS and approx 4,500 LF of 6-inch force main from the Stone Creek Development. The proposed project also includes replacement of the existing Florida Street PS as well as approximately 4,800 LF of 6-inch force main to reroute the line from running under the railroad tracks. Approximately 2,200 LF of 8-inch force main would also be constructed to tie these flows into an existing manhole. |  | SC0037974 |  | 2643796 |  | 2643796 |  | $ - |  |  |  | 60
7 |  | Greer Commission of Public Works - Gibbs Shoals Area Sewer Improvements |  | 463-13 |  | Construct approximately 5,700 linear feet (LF) of new 24-inch trunk sewer, 3,500 LF of new 21-inch trunk sewer, 4,170 LF of new 18-inch trunk sewer, 3,700 LF of new 15-inch trunk sewer, 6,700 LF of new 12-inch interceptor sewer and 4,600 LF of new 10-inch interceptor sewer within the Gibbs Shoals Basin. |  | SC0046345 |  | 9750000 |  | 8775000 |  | $ - |  |  |  | 40
8 |  | Berkeley County Water and Sanitation - Central Berkeley WWTP Upgrade to 9 MGD |  | 496-32 |  | This project will expand the existing wastewater treatment facility from 6 MGD to 9 MGD. The expansion will include the construction of an oxidation ditch, secondary clarifier, aerobic digester, ultraviolet disinfection system, emergency generator and associated electrical distribution and controls. |  | SC0039764 |  | 35000000 |  | 25000000 |  | $ - |  |  |  | 40
9 |  | Myrtle Beach, City of - Broadway Wetland and Stream Improvements |  | 494-24 |  | Expansion and enhancement of the existing wet pond along Withers Swash to improve the water quality protection capacity of the pond and stabilize and enhance ~500 LF of stream with natural channel design. These improvements will help to reduce bacteria levels at nearby beaches. |  | SCR035105 |  | 582000 |  | 582000 |  | $ - |  |  |  | 40
10 |  | Easley Combined Utilities - Georges Creek WWTP Upgrade & Expansion |  | 711-08 |  | Upgrade & expansion of 30 year old 0.82 MGD treatment facility to 1.6 MGD. |  | SC0023043 |  | 11000000 |  | 10000000 |  | $ - |  |  |  | 30
|  |  | Sponsor & Project Name |  | SRF Project Number |  | Project Description |  | NPDES Permit Number |  | Estimated Total Project Cost |  | Estimated SRF Loan Amount6 |  | Estimated Principal Forgiveness Assistance2 |  | Estimated Green Project Reserve Amount3 |  | Total Points
| 11 |  | Easley Combined Utilities - Middle Branch WWTP Headworks Improvements |  | 711-09 |  | Construct new headworks rated for 12MGD with associated piping, valves, electrical, and other improvments. |  | SC0039853 |  | 2850000 |  | 2570000 |  | $ - |  |  |  | 30
| 12 |  | Myrtle Beach, City of - Pump Station Protective Measures- Standby Pump Installation4 |  | 494-25 |  | Install standby pumps at 16 sewer pump stations to reduce the likelihood of reaching maximum capacity in a pump station's wet well due to a prolonged power outage and prevent sewer overflows. |  | SSS000691, SC0039039 |  | 5353753 |  | 5353753 |  | $ - |  |  |  | 20
| 13 |  | Lake City, City of - Martha Law Neighborhood Sewer Replacement |  | 413-02 |  | The project involves replacement of gravity sewer lines serving the Martha Law neighborhood in Lake City, consisting of approximately 4271 LF of line, manhole replacement and rehabilitation, excavation, asphalt repaving and driveway repairs to the 69 residences. |  | SC0046311 |  | 2390037 |  | $ - |  | 1000000 |  |  |  | 10
| 14 |  | Summerville Commissioners of Public Works - Summerville Wastewater Treatment Plant Upgrades |  | 804-01 |  | Three solar dryer bays including concrete foundations, dewatering building with belt presses and conveyors, modifications to the existing digesters, RAS/WAS pumps improvements and general valves and piping within the wastewater treatment plant, electrical improvements and grading. |  | SC0037541 |  | 21010000 |  | 15000000 |  | $ - |  |  |  | 0
| 15 |  | Greeleyville, Town of - Greeleyville Main Street Sewer Improvements Project |  | 719-06 |  | The proposed project involves gravity sewer improvements to the Town of Greeleyville's existing sanitary sewer system including the following: approximately 3,126 LF of 8" gravity sewer lines, 14 manholes and 21 services. |  | ND0077968 |  | 930456 |  | $ - |  | 930456 |  |  |  | 0
| 16 |  | Pinewood, Town of - Improvements to Address EPA Consent Order |  | 803-01 |  | The proposed project includes a Water Effects Ratio (WER) Screening, full WER testing if results are positive, NPDES permit modification, corrosivity desktop evaluation, and a possible pilot study for corrosion control treatment. Construction would include repairs at the WWTP. |  | SC0046868 |  | 923400 |  | $ - |  | 491700 |  |  |  | 0
| 17 |  | Grand Strand Water & Sewer Authority - Bucksport WWTP Expansion |  | 381-82 |  | Upgrade of the existing Bucksport WWTP from 5 MGD to 10 MGD. |  | ND0086240 |  | 35000000 |  | 35000000 |  | $ - |  |  |  | 0
| 18 |  | Grand Strand Water & Sewer Authority - Green Sea Floyds WWTP Expansion |  | 381-83 |  | This project consists of upgrading the capacity at the existing Green Sea Floyds WWTP by expanding the sprayfields and adding a lagoon if found necessary. |  | ND0066516 |  | 1000000 |  | 1000000 |  | $ - |  |  |  | 0
| 19 |  | Camden, City of - Project Goal Post - Prestage Wastewater System Improvements |  | 433-06 |  | Design and construct 30,000 LF of 12" and 16" wastewater force mains, one new pump station and upgrade one pump station to primarily serve Prestage Foods. Construct a new influent pump at the City's WWTP. Prepare a preliminary engineering report (PER) to up-rate the WWTP to increase capacity without add new tankage. |  | SC0021032 |  | 9720000 |  | 5525000 |  | $ - |  |  |  | 0
[7 empty] | Totals: |  |  |  | 158385485 |  | 130859593 |  | 2775156
[7 empty] | Total of SRF Loan + Principal Forgiveness Amount: | [5 empty] | 133281749
Footnotes
1 Projects that appear on the Provisional Project List are ranked based on priority for funding. However, a loan offer is dependent on the financial capacity of the sponsor, which may not have been evaluated to date.
|  |  | Sponsor & Project Name |  | SRF Project Number |  | Project Description |  | NPDES Permit Number |  | Estimated Total Project Cost |  | Estimated SRF Loan Amount6 |  | Estimated Principal Forgiveness Assistance2 |  | Estimated Green Project Reserve Amount3 |  | Total Points
2 As discussed in Section IX.B. of this IUP, the minimum required Additional Subsidy is 20% of the capitalization grant or $2,370,600. SC uses Principal Forgiveness Assistance to satisfy the Additional Subsidy requirement. The total Estimate Principal Forgiveness Assistance is shown on the table above. The Principal forgiveness funds are subject to change and are only available if the CWSRF Capitalization Grant referenced in this IUP is awarded by EPA and accepted by DHEC. Project listing is not a commitment of funding.
3 FY23 federal appropriations require that to the extent there are eligible projects, the CWSRF identify GPR eligible projects or parts of projects in an amount equal to at least 10% of the expected capitalization grant amount, or $1,185,300, as GPR eligible (see Section IX.C. of this CWSRF IUP). The footnoted projects are GPR eligible projects with requested SRF loan amounts that exceed 10% of the capitalization grant.
4 Equivalency project. DHEC reserves the right to modify, as needed and when appropriate, which project(s) will serve as the equivalency project(s) for this grant.
5 Denotes a project where the sponsor requested a principal forgiveness (PF) loan, but the sponsor and project are eligible for a conventional SRF loan (see Section IX.B. Additional Subsidies of this IUP).
6 With project costs continuing to rise, loan requests could exceed available funds. In this case, projects will be financed in the order of having a complete loan application (includes construction permit/letter of approval) and any projects that cannot be funded will be moved to the next available IUP.