## Table 1
| FY | Sponsor & Project | DHEC Project Number | Project Description | NPDES Number(s) Associated with Project | Total Project Cost Estimate | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance 1 | Estimated Green Project Reserve Amount 2 | Total Points
1 | 2015 | Clover, Town of Town of Clover Sewer System Rehab | 402-10 | Install a new bar screen and rehabilitate the air diffuser system at an existing lift station to reduce nitrogen levels at the discharge to the Gastonia, NC WWTF. Also rehabilitation or replacement of ~1,340 LF of sewer line in four locations to reduce infiltration and inflow. | NC0074268 | 324000 | 324000 |  |  | 80
2 | 2015 | Darlington, City of Bypass Sewer for Hartsville Oil Mill | 500-03 | Construction of 2 sewer lift stations and ~ 10,500 linear feet of PVC force main (6" & 8") and 200 linear foot of gravity sewer to allow an industrial discharge to be pumped to City of Florence WWTP. | SC0039624 | 1000300 | 372880 |  |  | 70
3 | 2015 | Pickens County Pickens County Septage Receiving Center | 592-19 | Upgrade of septage receiving station to reduce the potential for negative impacts on the 18-Upper Regional WWTF. | SC0042994 | 557650 |  | 500000 |  | 60
4 | 2015 | Taylors Fire and Sewer District Sewer Improvements/Taylors Mill Village | 702-05 | Replace aging sewer collection system with a high potential of failure by installing ~5,930 linear feet of new sewer line and replacing an aerial crossing over the Enoree River. |  | 2000000 | 2000000 |  |  | 60
5 | 2015 | Laurens County WSC North Creek Lift Station Rehabilitation | 540-11 | Replace existing pumps, valves, and interior piping of lift station. Replace pump motor and level controls. Add standby power generator. Rehab existing concrete wetwell and drywell. | SC0037974 | 400000 | 400000 |  |  | 60
6 | 2015 | Florence, City of Timmonsville Sewer System Improvements -Phase 2 | 378-23 | Continue collection system rehabilitation to assist takeover and complete WWTP rehabilitation/upgrade to include lagoon liner replacements, disposal of WWTP primary lagoon solids, rebuild influent pumps, headworks improvements and SCADA improvements. | SC0025356 | 4000000 | 4000000 |  |  | 50
7 | 2015 | Newberry County W&SA Newberry Shores WWTP Elimination | 706-02 | Construction of ~51,000 LF of sewer force main and 2 duplex pump stations to eliminate the Newberry Shores WWTP and tile field where nearby groundwater monitoring wells are showing elevated nitrate levels. | ND0060577 SC0048313 | 1902464 | 1402464 | 500000 |  | 50
8 | 2015 | East Richland County Public Service District New 64-inch Interceptor Sewer | 524-26 | Installation of a new 64-inch interceptor to replace aging parallel 54-inch and 42-inch interceptors. | SC0038865 | 3500000 | 3500000 |  |  | 50
9 | 2015 | Lyman, Town of Lyman WWTP Upgrade- phase 1 | 462-07 | Rehabilitate/repair or replace 15" gravity sewer influent line to the WWTP; headworks upgrade to include adding grit removal and a septage receiving station; removal of the old sludge digester basin. | SC0021300 | 3550000 | 3500000 | 50000 |  | 40
10 | 2015 | Greenwood Metro. Dist. Sample Branch Phase 1 Trunk Line Replacement | 368-22 | Installation of 8,000 Lf of 24" gravity trunk sewer to replace 12" and 15" 100-year old pipe. | SC0021709 | 2100000 | 2100000 |  |  | 40
11 | 2015 | Ware Shoals, Town of Ware Shoals Septage Receiving Station | 537-02 | Installation of a septage receiving station including a fine screen mesh at the Ware Shoals WWTP. | SC0020214 | 108632 |  | 54316 |  | 40
12 | 2015 | GSWSA Force Main from Pee Dee to City of Marion | 381-74 | Installation of s sewer pump station and 12" force main to serve an industrial site. | SC0046230 | 3600000 | 3600000 |  |  | 30
13 | 2015 | Mount Pleasant, Town of Snee Farm Stormwater Rehabilitation Project | 511-40 | Survey and design stormwater rehabilitation work; replace and improve lake outfall structure; rehabilitate/replace drainage pipe for flood mitigation; restore/stabilize primary drainage canals; clean, inspect, rehabilitate/replace drainage pipe. | SCR031906 | 8481083 | 8481083 |  |  | 20
14 | 2015 | BJWSA Hardeeville WWTP Upgrade and Expansion | 520-29 | Upgrade the Hardeeville Wastewater Treatment Plant to comply with the new Savannah River TMDL to be accomplished by upgrading the plant's secondary treatment process by adding a new headworks, and additional oxidation ditch with anoxic basin. | SC0034584 | 19700000 | 19700000 |  |  | 20
15 | 2015 | Lockhart, Town of SC Hwy 9 - Sewer Force Main Relocation | 721-03 | Replacement and relocation of 6" force main due to DOT bridge replacement. Upgrade of lift station pump to handle flows in relocated force main. | SC0003051 | 195000 | 195000 |  |  | 20
16 | 2015 | Lane, Town of Sewer Line Expansion | 770-02 | Providing sewer to the unsewered east side of town, where residents currently rely on septic systems with a high potential for failure. |  | 3700000 | 3700000 |  |  | 20
17 | 2015 | Mount Pleasant, Waterworks Capacity Management, Operations, and Maintenance - Rehab/Replacement Program | 511-41 | Replacement or rehabilitation of ~171,362 LF of clay sewers located through the MPW collection system using wither CIPP or cut and replace. | SC0040771 | 11272137 | 11272137 |  |  | 20
18 | 2015 | Mount Pleasant Waterworks Rifle Range Rd WWTP Effluent Pumping System Modification | 511-42 | Installation of triplex high efficiency submersible pumps, new VFD control panel, replacement of manifold piping and valves, above grade bypass fittings and discharge piping valves to improve efficiency and reduce the risk of a spill during extreme rainfall events. Back up emergency power will also be evaluated. | SC0040771 | 2000000 | 2000000 |  | 1000000 energy efficiency | 20
19 | 2015 | Tega Cay, City of Sewer System Rehabilitation | 731-01 | Rehabilitation of collection system components to include ~40,600 LF of gravity sewer line, 374 manholes, and 11 lift stations. Also, interconnect 3 WWTPs one of which will be reactivated and upgraded and the other 2 rehabilitated. |  | 6500000 | 6500000 |  |  | 20
20 | 2015 | Aiken County Horse Creek Pollution Control Facility Improvements | 321-30 | Upgrade the Horse Creek Pollution Control Facility to meet NPDES limits for BOD and ammonia through improvements to pump stations 1 & 3, flow equalization, influent screens/grit chambers, aeration basins, chlorination system, sludge holding tank and dewatering. | SC0024457 | 25000000 | 25000000 |  |  | 20
21 | 2015 | Greeleyville, Town of Greeleyville Sewer Phase 4 | 719-02 | Installation of lift station, force main and gravity sewer line to serve an area where 87% of septic systems are failing. | ND0077968 SC0048097 | 609479 | 109479 |  |  | 0
22 | 2015 | Bowman, Town of Bowman Avenue Ph II & III | 729-01 | Provide sewer to residents along or within the Bowman Avenue Corridor who currently rely on septic systems with a high incidence of overflow and potential for failure. | SC0040037 | 414000 | 414000 |  |  | 0
23 | 2015 | Dillon, Town of Highway 301 Force Main Relocation | 424-07 | Install ~2,350 LF of 14" force main due to the existing force main being in conflict with a SCDOT bridge relocation project. | SC0021776 | 450000 | 450000 |  |  | 0
24 | 2015 | James Island PSD Pump Station 54 Upgrade and Force Main Replacement | 543-12 | Replacement of degraded 4" PVC/DIP Force Main with 6" HDPE Force Main and installation of above grade piping and control valves at Pump Station 54. | SC0021229 | 661360 | 661360 |  |  | 0