## Table 1
Project Sponsors/Projects listed here are eligbile to be recipients of SRF funding assistance in State Fiscal Year 2017. Final funding decisions for each project will depend on: a satisfactory review of the project sponsor's technical and managerial capacity; a completed environmental review of the proposed project; issuance of a DHEC SRF construction permit; and, successful final credit review by the Rural Infrastructure Authority - Office of Local Government.
| SPONSOR Project Name | SRF Project Number | Project Description | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance1 | Estimated Green Project Reserve 2 Amount | Population Affected by Project | Total Points
1 | Florence, City of Timmonsville Water System Improvements - 2016 | 2110005-03 | Addition of new water lines and replacement of existing lines to address low pressures in the distribution system. Also replace 24 malfunctioning hydrants and 3 stripped valves. | 530000 | 530000 |  |  | 2221 | 105
2 | Winnsboro, Town of Raw Water Intake and Raw Water Line | 2010001-02 | Construct an intake and raw water pump station and install ~67,000 linear feet of 24" raw water pipe from the Broad River to the town's existing raw water reservoir. | 14700000 | 14700000 |  |  | 14265 | 95
3 | Gaston Rural Community Water District Radium Treatment for Gaston Rural Community Water District | 3220002-01 | Install a radium removal system to reduce the combined radium concentrations and produce finished water in compliance with the established MCL. | 730000 |  | 730000 |  | 7186 | 95
4 | Rock Hill, City of Rock Hill Water Treatment Plant and Lake Wylie Raw Water Intake Upgrade - DPB Reduction | 4610002-07 | Add intank aeration at two water storage tanks, install a 24" water line on Mt. Gallant Road and add chlorine dioxide chemical feed facilities at Lake Wylie to address the formation of disinfection by-products. | 42000000 | 8675000 |  |  | 118000 | 90
5 | Fripp Island PSD Harbor River Waterline Replacement | 0720002-02 | Replace ~3,500 LF of 10" waterline crossing the Harbor River due to DOT bridge replacement. This line is the only connection to the Island's water supplier. | 3100000 | 3100000 |  |  | 5495 | 85
6 | Walhalla, City of 4.0 MGD Water Plant and New Raw Water Intake | 3710004-03 | Construct a 4 MGD water treatment plant and 20" finished water main; also, construct raw water intake, raw water pump station, 24" raw water main, new 4 MGD raw water storage basin. | 17000000 | 16300000 |  |  | 16300 | 80
7 | GSWSA Bull Creek - South Parallel Transmission Line | 2620004-23 | Installation of~ 12,500 LF of 36" water main to parallel an existing 30" water main that is critical to serving the southern portion of the GSWSA service area and has no existing backup. | 6000000 | 6000000 |  |  | 115000 | 80
8 | Rock Hill, City of Rock Hill Water Treatment Plant and Lake Wylie Raw Water Intake Upgrade - WTP Improvements | 4610002-08 | Multiple improvements at the Rock Hill WTP to maintain compliance with drinking water standards to include: repair/replacement of clearwell baffle, sedimentation basin covers, and settled water turbidity meters. | see project 4610002-07 | 645000 |  |  | 118000 | 80
9 | Anderson Regional Joint Water System Lake Hartwell WTP Advanced Treatment Process Improvements | 0420011-06 | Evaluation of Lake Hartwell Water Treatment Facility with resulting implementation of technological and infrastructure improvements to address emerging contaminents and water quality. | 13500000 | 12500000 |  |  | 200000 | 40
| SPONSOR Project Name | SRF Project Number | Project Description | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Principal Forgiveness Assistance1 | Estimated Green Project Reserve 2 Amount | Population Affected by Project | Total Points
10 | Clio, Town of Church and Ivey Street Water Main Replacement | 3410002-01 | Replacement of 3900 LF of cast iron water mains on Church and Ivey Streets and 10 fire hydrants. | 265900 |  | 265900 |  | 942 | 35
11 | Carlisle, Town of Carlisle Water System Improvements Phase 1 | 4410003-01 | Recoating of interior of the water storage tank and installing an improved electronic control system. | $38,000 3 |  | 38000 |  | 436 | 35
12 | Donalds Due West Water & Sewer Authority Waterline Extension to Pinehurst Subdivision | 0120001-03 | Install ~7,940 LF of 6" waterlines, hydrants and other appurtenances to replace an aging distribution system and allow the Pinehurst Subdivision to connect to and be operated by Donalds Due West WSA. | 565000 |  | 565000 |  | 121 | 35
13 | Rock Hill, City of Rock Hill Water Treatment Plant and Lake Wylie Raw Water Intake Upgrade - Rehabilitation | 4610002-09 | Upgrade aging infrastructure to include: instrumentation upgrades, SCADA improvements, increase emergency power at Lake Wylie intake, rehabilitate sedimentation basins, improve energy efficiency for existing pumps, and address residual solids management. | see project 4610002-07 | 4 $6,750,000 |  |  | 118000 | 20
|  |  | Total | 98428900 | 69200000 | $1,598,900 5
|  |  | SFY 2017 Total of SRF Loan + Principal Forgiveness Loan Amounts |  | 70798900
1 Principal forgiveness funds are subject to change and are only available if the FY16 DWSRF Capitalization Grant is awarded by EPA and accepted by DHEC. Project listing is not a commitment of funding.
2 GPR projects are classified as "c" for categorical" or "bc" for business case. FY16 Appropriations do not require the DWSRF to identify GPR projects, however, South Carolina will try to identify at least 5% of the capitalization grant amount, or $415,600 as GPR projects.
3 Project as listed on DW Comprehensive Priority List requests principal forgiveness (PF) funds water meters, however meters are not eligible for SC SRF PF assistance in SFY17.
4 At the time the FY16 DRAFT IUP was prepared the estimated amount available for an SRF loan for SRF 4610002-09 was less than the estimated eligible project cost of $11,800,000. The loan amount available for this project could decrease or could increase up to the total eligible cost as a result of adjustments in the available balance of DWSRF funds as SRF loan administration progresses during SFY17.
5 In order to reach the required minimum amount of PF assistance ($1,662,400), DHEC will identify additional eligible principal forgiveness (PF) costs for the PF projects listed above and/or identify another project or portion of a project to receive PF funding.