## Table 1
| Sponsor and Project Name | SRF Project Number | Project Description | SC Water System ID Number | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Princpal Forgiveness Assistance2 | Sponsor's Service Population | Population Affected by Project | Total Points
1 | Eastover, Town of - Drinking Water Well Fixed Emergency Generators | 4010002-01 | The proposed project would include the purchase and installation of two fixed emergency generators for the town's water supply wells. | 4010002 | 200000 | $ - | 200000 | 813 | 813 | 135
2 | Bennettsville, City of - Lime Chemical Feed Systems and Roof Repairs for CIO2 Building | 3410001-04 | The proposed project includes lime chemical feed systems to replace the City's old caustic feed systems and roof replacement for the chlorine dioxide building. The new lime chemical feed system would correct their problem with low alkalinity at the surface water plant. The low alkalinity caused the City to violate turbidity requirements resulting in a consent order in 2019. The project will also include a charge analyzer to assist WTP staff in identifying proper coagulant dosage and pH during rapidly changing water quality conditions. The City has a different WTP Superintendent from the one that was at the WTP back in 2019. The new Superintendent understands the benefit to moving to a lime feed system to aid in the operation of the WTP. The lime feed system at Lyall Street would ensure compatible water in the system. | 3410001 | 2745650 | $ - | 921940 | 9100 | 9100 | 125
3 | Bamberg County - Elevated Water Tank Rehabilitation | 0510002-03 | The Bamberg County Industrial Park Tank is located at the end of Industrial Road in the Airport Industrial Park, adjacent to an industrial building and a short distance from the Bamberg County Airport, a regional airport facility. The area is a short distance from Heritage Highway (US Hwy 78) between the towns of Bamberg and Denmark. | 510002 | 581500 | $ - | 581500 | 3500 | 3500 | 95
4 | Coward, Town of - Coward Water Improvements Old Georgetown Rd | 2110012-02 | The Old Georgetown Road project will connect two dead-end water mains, enabling the Town to provide safe, reliable drinking water to approximately 153 existing homes in the area that are currently without public water service. This project will include the installation of approximately 31,756 LF of 8" water mains and 1,978 LF of 2" water mains. This loop will help with system stability and improve flow and pressure conditions on the existing system, thereby also improving water service for all existing water customers. | 2110012 | 1873746 | $ - | 1500000 | 2289 | 2681 | 70
5 | Turbeville, Town of - Puddin Swamp Road Water Main Extension/Looping | 1410004-01 | The projects consists of an extension of the Town's water system to provide an interconnection with the existing 10" water main along US Hwy. 378 with an existing 4" or 6" water main along SC Hwy. 58 (Shiloh Road). The water main would extend along Puddin Swamp Road and include an additional loop to serve S-14-521. The total project includes approximately 11,475 linear feet of 8" water main, 300 linear feet of 10" HDPE horizontally directional drilled water main, 11 fire hydrants, approximately 41 service connections and miscellaneous items such as pavement repairs. | 1410004 | 1015000 | $ - | 941400 | 1680 | 3180 | 30
| Sponsor and Project Name | SRF Project Number | Project Description | SC Water System ID Number | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Princpal Forgiveness Assistance2 | Sponsor's Service Population | Population Affected by Project | Total Points
6 | Lincolnville, Town of - Downtown Water System Upgrades | 1010007-01 | The town of Lincolnville's aging water system is no longer able to meet the needs of the town's residents and commercial customers. The water lines and other system components are at the end of their life expectancy. The town is also experiencing growth with a 27% increase in population between 2000 and 2020. As part of the mapping effort of the SC Rural Water Association, that agency also helped the town identify the areas within the town's system in greatest need. It is proposed to replace/upgrade the water distribution lines in the most critical need. Additional lines will follow in the future as funding becomes available. | 1010007 | 1500000 | $ - | 1500000 | 1147 | 250 | 30
7 | Bath Water and Sewer District, Town of - Town of Bath 2023 Water System Improvements Project | 0220003-01 | Funds will be used to replace an existing 8-inch water line on Minter Street on the north and south side of U.S. 421 including a jack and bore, valves, hydrants, and service reconnections. The Town also wishes to replace cast iron pipes under railroad crossings. Finally, the Town wishes to loop the water system on the north side of the railroad tracks for better water circulation, fire protection, and to provide redundant water connection points under the railroad tracks. | 220003 | 1500000 | $ - | 1500000 | 630 | 630 | 30
8 | Pelion, Town of - Pelion - Main Street Water Main Replacement | 3210010-01 | The Main Street Water Main Replacement Project will consist of the replacement of approximately 3,800 LF of 6” water main, four fire hydrants and sixteen water services. It is proposed that the new main will be upsized to 10” in diameter. When the interconnect was made with the Commission, the main feed point to the Town was modified. This increase in pipe size will allow for system flow improvement through the town to account for this change in hydraulics. In addition, this upsize will improve fire flows within the Town (most significantly to the four schools). | 3210010 | 950000 | $ - | 950000 | 1100 | 100 | 30
9 | Blacksburg, Town of - Main Street Line Replacement and Grover Booster Pump | 1110002-02 | The water line proposed for replacement is nearly 50 years old, undersized and primarily composed of cast iron pipe with lead joints and an extensive repair history. Currently, there is not sufficient isolation valves within town and as a result during breaks and repairs, many customers are without water until repairs are completed. Funds will be used towards construction costs associated with the replacement of the Town's central waterline on Hwy 29 (Main Street) as well as the installation of a booster pump, to improve water pressure in the extremities of the Town of Blacksburg’s water system. | 1110002 | 2200000 | $ - | 1500000 | 4488 | 4488 | 30
10 | Rural Community Water District of Georgetown County - Brick Chimney Road Well | 2220001-01 | The proposed new groundwater well would be a 500 GPM well on the western side of the system. This will provide redundancy and a second source of drinking water within the western portion of the system should there be a pipeline break that disconnects the northern and western service areas. With the installation of this well, the western part of the system will have adequate capacity. An existing water main is located adjacent to this site to connect the new well to the western portion of the system. | 2220001 | 1300000 | $ - | 1300000 | 4854 | 4854 | 25
| Sponsor and Project Name | SRF Project Number | Project Description | SC Water System ID Number | Estimated Total Project Cost | Estimated SRF Loan Amount | Estimated Princpal Forgiveness Assistance2 | Sponsor's Service Population | Population Affected by Project | Total Points
11 | Starr-Iva Water & Sewer District - Water System Improvements | 0420005-03 | The project includes replacement of various aging infrastructure to address capacity and resiliency while supporting future economic growth opportunities and extension opportunities for unserved portions of the Starr-Iva service area. | 420005 | 10595000 | $ - | 500000 | 8688 | 8688 | 25
12 | Beech Island Rural Community Water and Sewer District - Beech Island Avenue Water Line | 0220004-01 | This project consists of a water line replacement and upgrades on Beech Island Avenue. The entity has old asbestos-cement water lines on large transmission lines which are most susceptible to breaks. The water line on Beech Island Avenue from Tank 1 to Atomic Road currently moves nearly 700 gpm of water and supplies roughly half of the water to Kimberly Clark (Largest Industry) and all the water to the west and northwest portion of Town. Unfortunately, this line is a brittle asbestos- cement line that is sensitive to flow changes and pressure spikes. If this line breaks, Beech Island will have difficulty supplying water to these customers. The existing 8-inch asbestos cement line should be replaced with a new 12-inch water line. | 220004 | 1998015 | $ - | 1500000 | 8051 | 8051 | 25
13 | Grand Strand Water and Sewer Authority - Bull Creek SWTP Expansion3 | 2620004-30 | Expand WTP to 60 MGD through additional equipment and piping modifications, including a new 36-in raw water transmission line into the plant. | 2620004 | 38636000 | 24612000 | $ - | 316000 | 316000 | 20
14 | Aiken, City of - Shaws Creek Water Treatment Plant3 | 0210001-03 | The replacement of the Shaw’s Creek WTP on the Northside to ensure that the water service can continue uninterrupted and to meet the increasing demands required to provide safe clean drinking water. The existing water plant has been in operation for almost seven decades and has reached the end of it service life. | 210001 | 72600000 | 27000000 | $ - | 21000 | 21000 | 20
15 | Grand Strand Water and Sewer Authority - Conway Parallel Transmission Main3 | 2620004-28 | 24 inch PVC transmission main from Bull Creek SWTP to the Conway BPS. | 2620004 | 24250000 | 20238000 | $ - | 316000 | 316000 | 10
|  |  | Totals: |  | 161944911 | 71850000 | 12894840
|  |  | Total of SRF Loan + Principal Forgiveness Amount: |  |  | 84744840
1 Projects on the Provisional Project List are ranked based on priority for funding. However a loan offer is dependent on the financial capacity of the sponsor, which may not have been evaluated to date.
2 As discussed in Section IX.B. of this IUP, the required Additional Subsidy is 49% of the capitalization grant or $12,894,840. SC uses Principal Forgiveness Assistance to satisfy the Additional Subsidy requirement. The total Estimate Principal Forgiveness Assistance is shown on the table above. The Principal Forgiveness funds are subject to change and are only available if the DWSRF Capitalization Grant referenced in this IUP is awarded by EPA and accepted by DHEC. Project listing is not a commitment of funding.
3 Equivalency project. DHEC reserves the right to modify, as needed and when appropriate, which project(s) will serve as the equivalency project(s) for this grant.
Note: The project funding needs identified in this PPL exceed the amount of the FFY 2023 DWSRF General Supplemental capitalization grant. The additional money required to fund projects on the PPL may come from “recycled” DWSRF funds, the project sponsor’s own resources, or some combination thereof. Also, projects will be financed in the order of having a complete loan application (including construction permit/letter of approval) and any projects that cannot be funded will be moved to the next available IUP.